## Slide 1: Cytoflex Cytometer Training April 25, 2018

## Slide 2
Cytoflex Cytometer

## Slide 3
Before Startup – Check Fluidics

## Slide 4
Cytoflex – Power Switch

## Slide 5
Cytoflex – Sample Types
FACS Tubes
96-well Plates

## Slide 6
Cytoflex – Sample Types
FACS Tubes
96-well Plates

## Slide 7
Start Up – Sign In & Choose

## Slide 8: Start Up – Choose method
Tubes

## Slide 9
Start Up – Run Startup (~8 minutes)

## Slide 10
Select Plate type
Fill Wells
Set a Tube in place
Tubes Plates

## Slide 11
Label your Dye
Select Channels to record
Run Samples – Choose Detectors

## Slide 12
Always Setup TIME
histogram
Always setup FSCxSSC
Useful to setup singlet gate
FSC-A x FSC-H
*Setup gates after or during collection.
Setup Plots

## Slide 13
Always Setup TIME
histogram
Always setup FSCxSSC
Useful to setup singlet gate
FSC-A x FSC-H
TIME:
View Peristaltic pump
Watch for Clogs
Gate “good” reads
Setup Plots

## Slide 14
Always begin with Recommended Gains
Acquisition Settings
Gains

## Slide 15
Default is Automatic
You may need Manual
Acquisition Settings
Threshold

## Slide 16
Acquisition Settings – Control Panel

## Slide 17
The default is pretty low
Choose
Begin Slow, speed up as needed
Acquisition Settings – Control Panel

## Slide 18
Initialize
Run
1. Set threshold
2. Set gains
3. Record
Acquisition Settings – Control Panel

## Slide 19
Finding your population
Getting Counts
Zoom
Pan
Watch:
Events per second (1000-10,000)
Abort rate (>5)
Check:
Threshold
Sample Flow Rate
Sample concentration
Check:
Events displayed
Total events
Zoom/pan
Threshold is set
at least 1000
hopefully a lot
Should you run it faster? Should you bring more concentrated samples next time?
5K
low

## Slide 20
Practice files:
We will practice the following skills:
1. Finding populations (use zoom & pan)
2. Setup plots
3. Setup and move gates, navigate between samples
4. Setup hierarchy table, statistics
5. Export files
6. Make a compensation matrix

## Slide 21
Cytometer – Flush (~10 minutes)
Two Tubes:
2 ml FlowClean (blue)
3 ml DI water (sheath)
96-well plate:
3 wells of FlowClean
5 wells of DI Water
At least 250 ul per well.
Prepare solutions:
Run Daily Clean:
Clean 1st
After cleaning, put it on Standby. Do not turn off machine

## Slide 22
Cytometer – Flush (~12 minutes)
Follow On-Screen Instructions
Tubes
Plates
5 minutes
DI water
3 minutes
Blue FlowClean
5 Wells
DI water
3 Wells
Blue FlowClean

## Slide 23
Cytometer – Full Shutdown (~25 minutes)
Two Tubes:
2 ml FlowClean (blue)
3 ml DI water (sheath)
96-well plate:
3 wells of FlowClean
5 wells of DI Water
At least 250 ul per well.
Prepare solutions:
Run Daily Clean:
Clean 1st
After cleaning, put it on Standby before turning off the power.

## Slide 24
Cytometer – Full Shutdown
Follow On-Screen Instructions
Tubes
Plates
15 minutes
DI water
10 minutes
Blue FlowClean
5 Wells
DI water
3 Wells
Blue FlowClean
After: Select “Standby”. Turn off the Cytometer. Logoff the computer.

## Slide 25
Laser | Fluorescent Channel | Channel Names/Dyes
488 nm - Blue | 525/40 | BL1, FITC, GFP, Alexa-488, CFSE, Fluo-3, YFP
 | 690/50 | BL2, PerCP, PI, PC5, PC5.5, PerCP-Cy5.5
 | 488/8 | Blue SSC
 | FSC | FSC
638 nm - Red | 780/60 | RL3, APC-H7, APC-A750, APC-Cy7, APC-eFluor780
 | 712/25 | RL2, APC-A700, Alexa-700
 | 660/20 | RL1, APC, Alexa-647, eFluor-660
561 nm - Yellow | 610/20 | YL2, ECD, mCherry, PI, PE-Texas Red, PE-CF594
 | 585/42 | YL1, PE, PI, dTomato, DsRed
 | 690/50 | YL3, PerCP, PI, PC5.5, PerCP-Cy5.5, PC5
 | 780/60 | YL4, PC7, PE-Cy7
405 nm- Violet | 405/10 | Violet SSC (nanoparticle)
 | 450/45 | VL1, Pacific Blue, Brilliant Violet 421, CFP, eFluor-450, V450
 | 525/40 | VL2, CFP-YFP, Krome Orange, AmCyan, V500, Brilliant Violet 510
 | 610/20 | VL3, mCherry, Brilliant Violet 605, Violet 610, Qdot 605
 | Other optional Filters | Optional Colors
 | 780/60 | For Violet laser
 | 660/20 | Brilliant Violet 650, Qdot 655
 | 561/10 | FSC, SSC for yellow laser

## Slide 26
JUNK SLIDES

## Slide 27
Other Filters:
• 405/10 BP
• 638/6 BP
• 561/6 BP
• 488/8 BP
FSC
SSC
SSC-Violet
Violet Yellow Red Blue
405/10 BP VioletSSC Alternative SSC

## Slide 28
Other Filters:
• 405/10 BP
• 638/6 BP
• 561/6 BP
• 488/8 BP
FSC
SSC
SSC-Violet

## Slide 29
Violet Yellow Red Blue

## Slide 30
Violet Yellow Red Blue